Michel’s Medium Information for Immunofluorescence Specimens

Information:

- Michel’s Medium acts a preservative and maintains the pH of the solution and tissue samples – changes to pH can adversely affect the outcome of the IMF staining results.

- Specimens for IMF investigation should be placed into Michels Medium and immediately sent to Cellular Pathology.

- The Michel’s Medium supplied by Cellular Pathology at the RVI is manufactured by ScyTek Laboratories and supplied by SolMedia. It is a CE-IVD reagents intended for use with diagnostic specimens.

- Michel’s Transport Medium has been verified in Cellular Pathology at the RVI for use on renal, skin and head + neck specimens.

- Cellular pathology have verified the storage of fresh IMF samples in Michel’s medium for a maximum of 7 days.

- Tissue stored for longer than 7 days in Michel’s medium will not be accepted

- Michel’s Medium cannot be used after the expiry date on the label.

- Michel’s Medium must be stored at 2-8OC before use. Once the specimen has been added to the medium it should be immediately sent to the laboratory (cool packing is not required).

- Inform specimen reception on ext.24565 when you need more, before you run out. To avoid wastage please let us know how many you will need.

Health and Safety information:

- Colourless solution

- No explosion hazard

- Irritating to eyes and skin, may cause burns, irritating vapours.  May be harmful if ingested, causing internal irritation.

- No evidence of carcinogenicity.

- No toxicity data available.

- Safety datasheet can be found at https://www.solmedialtd.com/product/michels-medium-1-litre/

Any queries please contact our Health and Safety Manager, Mandie Griffin, on ex. 21958.

First Aid:

- Eyes:	Irrigate with water for 10 minutes and seek medical attention.

- Skin:	Wash off thoroughly with water.  In severe cases seek medical attention.

- Mouth: Wash out mouth thoroughly with water and seek medical attention